## Sheet1
Proposed Oxnard Wastewater Capitol Improvements- 2/1/2017
Emergency repairs (1-2 years)
Collection System
1 |  | Central trunk replacement of 47 manholes | 1410000
2 |  | Headworks concrete coating repair | 280000
WW treatment plant
3 |  | Headworks - New dampers, fan & duct repairs | 310000
4 |  | Primary - replace effluent weirs & walkway | 655000
5 |  | Secondary - reinforce biotowers | 630000
6 |  | Secondary - activated sludge tank repairs | 150000
7 |  | Biosolids - rehabilitate dewatering systems | 1180000
8 |  | Electrical - install disconnects and temporary ckt breakers | 750000
9 |  | Electrical - Rebuild 2 cogeneration units | 810000
10 |  | Electrical - install new CMMS system | 300000 |  | cost for years 1-2
11 |  | Electrical - Convert Fiber network to ethernet | 225000 |  | 6700000
CIP improvement projects (3-5 years)
Collection System
12 |  | Central trunk replacement of 27 manholes | 810000
13 |  | Rehabilitate 64 manholes | 600000
14 |  | Upgrade sewer mains (Rice, Ventura & 3rd streets) | 3420066
15 |  | Pipelines - annual pipe repairs | 200000 | (per year)
16 |  | Pipelines - Concrete sewer replacement | 500000 | (per year)
17 |  | Devco lift station replacement | 500000
18 |  | Lift station #4 replacement | 500000
19 |  | Lift station #6 replacement | 500000
20 |  | Lift station #20 replacement | 300000
21 |  | Magnesium Hydroxide facilities | 4400000
CIP improvement projects (3-5 years) --(continued)
WW treatment plant
22 |  | Headworks - Repair basin concrete | 409100
23 |  | Headworks - New odor control system | 7250000
24 |  | Biosolids - Digester 2 cover & cleaning of #1 & #3 | 3700000
25 |  | Biosolids - belt filter press replacement | 1430000
26 |  | Pumping - Replace interstage pump station | 11087199
27 |  | Electrical - Install new standby generator | 5000000
28 |  | Electrical - Rebuild one cogeneration unit | 405000
29 |  | Electrical - Install new MCC panels | 2087199
30 |  | Electrical - New electrical building, new transformers | 6000000 |  | cost of years 3-5
31 |  | Electrical - New SCADA software | 4946500 |  | 55445064
32 |  | Total cost of first FIVE years (ignoring CIP 6-10) >>> |  |  | 62145064
CIP renewal projects (years 6-10)
Collection System
33 |  | Annual manhole rehabilitation | 200000 | (per year)
34 |  | Pipelines - annual pipe repairs | 200000 | (per year)
35 |  | Pipelines - Concrete sewer replacement | 500000 | (per year)
WW treatment plant
36 |  | Headworks - new non-hazardous waste receiving station | 2400000
37 |  | Primary - demolish existing clarifiers | 7800000
38 |  | Secondary - Activated sludge tank upgrade | 130650000
39 |  | Biosolids - replace digesters mixing systems | 36140000 |  | cost of years 6-10
40 |  | Electrical - New electrical building for MBR system | 27100000 |  | 208590000
|  | Total projected cost of all ten years >>> |  |  | 270735064